Neurosoft
Report

Patient data:

Name: Thalita Oliveira Magno Neves
Birth date: 04/07/1992
Sex: Feminino
Age: 28 anos
Policy number: 
Diagnosis: Enxaqueca/ Revoc
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: PEA NEUROFIS
High-pass filter: 2,0 Hz
Low-pass filter: 100,0 Hz
Notch filter: Liga
Examination duration: 00:03:20
Examination date: Friday, June 11, 2021	

Analysis results:

Potenciais evocados: Áudio-estimulação 1,0 Hz (ambos, 80 dB, Condensação, 5 ms) [00:00:01]
[50 µV, 50 ms]

Derivação	N1	P2 (12 ms)	N2 (40 ms)	P3 (82 ms)	
	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	N1-P2, ms	N1-P2, µV	Latência, ms	Amplitude, µV	P2-N2, ms	P2-N2, µV	Latência, ms	Amplitude, µV	N2-P3, ms	N2-P3, µV	
FP2-A2	76	0,34	88	0,91	12	0,57	128	-1,61	40	2,51	210	1,23	82	2,84	
T4-C4	56	-0,50	102	1,59	46	2,09	148	-2,28	46	3,87	228	1,69	80	3,98	
O1-O2	82	-0,92	126	0,25	44	1,17	172	-0,69	46	0,94	292	1,04	120	1,73	
T3-C3	66	-1,64	104	2,02	38	3,65	166	-1,97	62	3,99	204	1,77	38	3,74	
FP1-A1	86	-3,32	90	5,91	4	9,23	136	-5,69	46	11,60	206	4,81	70	10,50