Neurosoft
Report

Patient data:

Name: Raissa Karst Passos Soares
Birth date: 09/06/1990
Sex: Feminino
Age: 31 anos
Policy number: 
Diagnosis: Enxaqueca
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: P300 NEUROFIS
High-pass filter: 0,5 Hz
Low-pass filter: 75,0 Hz
Notch filter: Liga
Examination duration: 00:06:21
Examination date: Friday, August 20, 2021	

Analysis results:

Potenciais evocados: PE cognitivo (P300) 1,0 Hz (ambos, 70 dB, Condensação, 100 ms, Tom 1000 Hz) [00:00:00]
[50 µV, 50 ms]

Derivação	P300	
	Latência, ms	Latency normal value 300ms (200ms - 390ms)	Amplitude, µV	
FP2-A2	274		6,59	
T4-C4	290		-0,98	
O1-O2	318		1,04	
T3-C3	308		0,09	
FP1-A1	280		7,80