Neurosoft
Report

Patient data:

Name: Silvia Cristina Machado Martins
Birth date: 13/09/1965
Sex: Feminino
Age: 55 anos
Policy number: 
Diagnosis: Sequela Covid
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: P300 NEUROFIS
High-pass filter: 0,5 Hz
Low-pass filter: 75,0 Hz
Notch filter: Liga
Examination duration: 00:03:28
Examination date: Friday, August 20, 2021	

Analysis results:

Potenciais evocados: PE cognitivo (P300) 1,0 Hz (ambos, 70 dB, Condensação, 100 ms, Tom 1000 Hz) [00:00:00]
[50 µV, 50 ms]

Derivação	P300	
	Latência, ms	Latency normal value 300ms (200ms - 425ms)	Amplitude, µV	
FP2-A2	270		-3,01	
T4-C4	338		2,22	
O1-O2	328		-0,18	
T3-C3	344		3,16	
FP1-A1	276		-1,64