Neurosoft
Report

Patient data:

Name: Beatriz Barros Barbosa
Birth date: 11/03/1999
Sex: Feminino
Age: 22 anos
Policy number: 
Diagnosis: Sono Excessivo
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: P300 NEUROFIS
High-pass filter: 0,5 Hz
Low-pass filter: 70,0 Hz
Notch filter: Liga
Examination duration: 00:03:36
Examination date: Wednesday, October 06, 2021	

Analysis results:

Potenciais evocados: PE cognitivo (P300) 1,0 Hz (ambos, 80 dB, Condensação, 100 ms, Tom 1000 Hz) [00:00:00]
[50 µV, 50 ms]

Derivação	P300	
	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	
FP2-A2	294		6,86	
T4-C4	320		-0,99	
O1-O2	298		4,15	
T3-C3	344		-2,23	
FP1-A1	288		4,55