Neurosoft
Report

Patient data:

Name: Sayonara de Amorim  Goncalves Leal
Birth date: 06/06/1974
Sex: Feminino
Age: 47 anos
Policy number: 
Diagnosis: Check up
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: Neurofis PEA
High pass filter: 2,0 Hz
Low pass filter: 100,0 Hz
Notch filter: Liga
Examination duration: 00:04:10
Examination date: Monday, December 06, 2021	

Analysis results:

Potenciais evocados: Áudio-estimulação 1,0 Hz (ambos, 80 dB, Condensação, 5 ms) [00:00:01]
[50 µV, 50 ms]

Derivação	N1	P2 (92 ms)	N2 (8 ms)	P3 (60 ms)	
	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	N1-P2, ms	N1-P2, µV	Latência, ms	Amplitude, µV	P2-N2, ms	P2-N2, µV	Latência, ms	Amplitude, µV	N2-P3, ms	N2-P3, µV	
FP2-A2	54	-1,85	146	0,33	92	2,18	154	-0,09	8	0,42	214	2,14	60	2,23	
T4-C4	90	-0,56	148	0,19	58	0,75	172	-1,00	24	1,19	246	0,80	74	1,80	
O1-O2	52	-0,65	76	0,97	24	1,62	120	-0,61	44	1,58	160	1,55	40	2,16	
T3-C3	90	-0,62	128	1,04	38	1,66	186	-1,29	58	2,33	280	0,91	94	2,20	
FP1-A1	58	-5,08	134	2,05	76	7,13	142	-2,22	8	4,27	234	4,88	92	7,10