Neurosoft
Report

Patient data:

Name: Maira Naila Lopes Amaro
Birth date: 27/01/2001
Sex: Feminino
Age: 20 anos
Policy number: 
Diagnosis: Check up
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: Neurofis PEA
High pass filter: 2,0 Hz
Low pass filter: 100,0 Hz
Notch filter: Liga
Examination duration: 00:04:10
Examination date: Thursday, January 13, 2022	

Analysis results:

Potenciais evocados: Áudio-estimulação 1,0 Hz (ambos, 80 dB, Condensação, 5 ms) [00:00:01]
[50 µV, 50 ms]

Derivação	N1	P2 (58 ms)	N2 (8 ms)	P3 (26 ms)	
	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	N1-P2, ms	N1-P2, µV	Latência, ms	Amplitude, µV	P2-N2, ms	P2-N2, µV	Latência, ms	Amplitude, µV	N2-P3, ms	N2-P3, µV	
FP2-A2	78	-3,67	136	2,45	58	6,12	144	-0,99	8	3,45	170	3,91	26	4,90	
T4-C4	78	-3,09	120	3,07	42	6,16	162	-4,36	42	7,43	270	4,10	108	8,46	
O1-O2	98	-8,78	140	8,23	42	17,02	164	-7,92	24	16,16	190	8,59	26	16,51	
T3-C3	80	-37,45	122	37,94	42	75,39	180	-38,92	58	76,86	238	39,10	58	78,02	
FP1-A1	88	-8,23	146	7,70	58	15,93	172	-5,93	26	13,64	180	8,39	8	14,32