Neurosoft
Report

Patient data:

Name: Mayara Suellen de Araujo Silva
Birth date: 16/09/1988
Sex: Feminino
Age: 33 anos
Policy number: 
Diagnosis: Enxaqueca
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: Neurofis P300
High pass filter: 0,5 Hz
Low pass filter: 75,0 Hz
Notch filter: Liga
Examination duration: 00:04:32
Examination date: Monday, May 16, 2022	

Analysis results:

Potenciais evocados: PE cognitivo (P300) 1,0 Hz (ambos, 80 dB, Condensação, 100 ms, Tom 2000 Hz) [00:00:00]
[50 µV, 50 ms]

Derivação	P300	
	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	
FP2-A2	278		0,55	
T4-C4	322		0,03	
T3-C3	338		2,35	
FP1-A1	324		-4,29