Neurosoft
Report

Patient data:

Name: Gustavo Henrique de Araujo
Birth date: 16/09/1986
Sex: Masculino
Age: 35 anos
Policy number: 
Diagnosis: Enxaqueca/
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: Neurofis PEA
High pass filter: 2,0 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:10
Examination date: Tuesday, July 19, 2022	

Analysis results:

Potenciais evocados: Áudio-estimulação 1,0 Hz (ambos, 80 dB, Condensação, 5 ms) [00:00:01]
[50 µV, 50 ms]

Derivação	N1	P2 (23 ms)	N2 (77 ms)	P3 (16 ms)	
	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	N1-P2, ms	N1-P2, µV	Latência, ms	Amplitude, µV	P2-N2, ms	P2-N2, µV	Latência, ms	Amplitude, µV	N2-P3, ms	N2-P3, µV	
FP2-A2	90	-2,08	113	-0,44	23	1,64	190	0,45	77	0,89	206	0,84	16	0,39	
T4-C4	75	0,66	94	1,57	19	0,91	164	-1,93	70	3,50	248	0,66	84	2,59	
O1-O2	75	-0,11	100	0,52	25	0,63	180	-0,79	80	1,31	238	0,48	58	1,27	
T3-C3	60	-0,25	82	1,07	22	1,32	162	-1,67	80	2,74	214	1,44	52	3,10	
FP1-A1	98	-1,70	140	0,73	42	2,44	164	0,54	24	0,19	188	1,08	24	0,54