Neurosoft
Report

Patient data:

Name: Antonio Ramos de Oliveira
Birth date: 22/08/1954
Sex: Masculino
Age: 68 anos
Policy number: 
Diagnosis: Check up
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: PEA
High pass filter: 2,0 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:10
Examination date: Tuesday, December 27, 2022	

Analysis results:

Potenciais evocados: Áudio-estimulação 1,0 Hz (ambos, 80 dB, Condensação, 5 ms) [00:00:01]
[50 µV, 50 ms]

Derivação	N1	P2 (66 ms)	N2 (20 ms)	P3 (22 ms)	
	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	N1-P2, ms	N1-P2, µV	Latência, ms	Amplitude, µV	P2-N2, ms	P2-N2, µV	Latência, ms	Amplitude, µV	N2-P3, ms	N2-P3, µV	
FP2-A2	64	-0,49	130	0,56	66	1,06	150	0,01	20	0,55	172	1,01	22	1,00	
T4-C4	92	0,20	146	0,70	54	0,50	190	-1,17	44	1,87	262	0,09	72	1,25	
O1-O2	74	-0,65	148	0,64	74	1,28	198	-0,68	50	1,32	270	1,36	72	2,04	
T3-C3	75	0,06	136	0,64	61	0,58	176	-0,70	40	1,34	272	0,20	96	0,90	
FP1-A1	54	0,06	113	-0,96	59	1,02	186	0,08	73	1,04	238	0,74	52	0,66