Neurosoft
Report

Patient data:

Name: Yuki Mukai
Birth date: 27/10/1973
Sex: Masculino
Age: 49 anos
Policy number: 
Diagnosis: 
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: PEA
High pass filter: 2,0 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:10
Examination date: Thursday, December 29, 2022	

Analysis results:

Potenciais evocados: Áudio-estimulação 1,0 Hz (ambos, 80 dB, Condensação, 5 ms) [00:00:01]
[50 µV, 50 ms]

Derivação	N1	P2 (36 ms)	N2 (16 ms)	P3 (116 ms)	
	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	N1-P2, ms	N1-P2, µV	Latência, ms	Amplitude, µV	P2-N2, ms	P2-N2, µV	Latência, ms	Amplitude, µV	N2-P3, ms	N2-P3, µV	
FP2-A2	76	-2,02	112	-1,38	36	0,65	128	-1,73	16	0,35	244	2,35	116	4,08	
T4-C4	80	0,06	98	0,63	18	0,58	168	-0,96	70	1,59	228	0,39	60	1,35	
O1-O2	86	0,24	100	0,34	14	0,11	148	-0,10	48	0,44	192	0,18	44	0,28	
T3-C3	84	-0,64	108	0,66	24	1,30	150	-0,23	42	0,89	296	1,00	146	1,23	
FP1-A1	72	-1,75	98	-0,93	26	0,82	116	-2,13	18	1,20	228	2,67	112	4,80