Neurosoft
Report

Patient data:

Name: Guilherme Vilela Cardoso Souto
Birth date: 28/07/1997
Sex: Masculino
Age: 25 anos
Policy number: 
Diagnosis: TDAH/ Ritalina ,Revoc
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: PEA
High pass filter: 2,0 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:10
Examination date: Tuesday, January 31, 2023	

Analysis results:

Potenciais evocados: Áudio-estimulação 1,0 Hz (ambos, 80 dB, Condensação, 5 ms) [00:00:01]
[50 µV, 50 ms]

Derivação	N1	P2 (18 ms)	N2 (28 ms)	P3 (146 ms)	
	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	N1-P2, ms	N1-P2, µV	Latência, ms	Amplitude, µV	P2-N2, ms	P2-N2, µV	Latência, ms	Amplitude, µV	N2-P3, ms	N2-P3, µV	
FP2-A2	74	-0,05	92	0,89	18	0,94	120	-1,29	28	2,19	266	1,40	146	2,69	
T4-C4	56	-0,37	114	1,03	58	1,39	154	-1,07	40	2,10	224	0,76	70	1,83	
O1-O2	66	-0,75	82	1,83	16	2,58	150	2,21	68	0,39	220	3,29	70	1,08	
T3-C3	54	-0,32	110	1,09	56	1,41	158	-0,93	48	2,02	208	0,45	50	1,38	
FP1-A1	80	-0,63	92	-0,31	12	0,32	114	-1,98	22	1,67	262	1,41	148	3,39