Neurosoft
Report

Patient data:

Name: Julio Grandao Pedrosa
Birth date: 16/11/1981
Sex: Masculino
Age: 41 anos
Policy number: 
Diagnosis: 
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: PEA
High pass filter: 2,0 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:10
Examination date: Monday, November 13, 2023	

Analysis results:

Potenciais evocados: Áudio-estimulação 1,0 Hz (ambos, 80 dB, Condensação, 5 ms) [00:00:01]
[50 µV, 50 ms]

Derivation	Summary traces	
	N1	P2	N2	P3	
	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	P2-N1, ms	P2-N1, µV	Latência, ms	Amplitude, µV	N2-P2, ms	N2-P2, µV	Latência, ms	Amplitude, µV	P3-N2, ms	P3-N2, µV	
FP2-A2	94	-0,19	132	0,43	38	0,63	150	0,22	18	0,21	280	0,36	130	0,14	
T4-C4	56	-0,23	110	0,48	54	0,71	156	-0,30	46	0,78	204	0,17	48	0,47	
O1-O2	62	-0,57	106	0,58	44	1,15	190	-0,77	84	1,34	250	0,51	60	1,27	
T3-C3	60	-0,75	80	0,45	20	1,20	142	-0,10	62	0,54	160	0,49	18	0,59	
FP1-A1	94	-0,46	142	0,37	48	0,83	178	-0,16	36	0,54	270	0,45	92	0,61