Neurosoft
Report

Patient data:

Name: Carlos Eduardo Pereira
Birth date: 05/09/1961
Sex: Masculino
Age: 62 anos
Policy number: 
Diagnosis: 
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: PEA
High pass filter: 2,0 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:13
Examination date: Thursday, November 16, 2023	

Analysis results:

Potenciais evocados: Áudio-estimulação 1,0 Hz (ambos, 80 dB, Condensação, 5 ms) [00:00:00]
[50 µV, 50 ms]

Derivation	Summary traces	
	N1	P2	N2	P3	
	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	P2-N1, ms	P2-N1, µV	Latência, ms	Amplitude, µV	N2-P2, ms	N2-P2, µV	Latência, ms	Amplitude, µV	P3-N2, ms	P3-N2, µV	
FP2-A2	80	-1,02	146	0,29	66	1,31	192	-0,08	46	0,37	214	0,61	22	0,69	
T4-C4	75	1,18	76	1,18	1	0,00	164	-0,87	88	2,05	278	0,22	114	1,09	
O1-O2	72	0,01	112	0,55	40	0,55	172	-0,32	60	0,87	192	1,00	20	1,31	
T3-C3	75	0,56	113	-0,07	38	0,63	134	-0,45	21	0,38	270	0,27	136	0,71	
FP1-A1	90	-0,99	146	0,91	56	1,90	174	0,05	28	0,86	212	0,67	38	0,61