Neurosoft
Report

Patient data:

Name: Yuri Rios Pina Alves
Birth date: 12/10/1992
Sex: Masculino
Age: 31 anos
Policy number: 
Diagnosis: 
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: P300
High pass filter: 0,5 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:05:33
Examination date: Wednesday, March 20, 2024	

Analysis results:

Potenciais evocados: PE cognitivo (P300) 1,0 Hz (ambos, 80 dB, Condensação, 100 ms, Tom 2000 Hz) [00:00:00]
[50 µV, 50 ms]

Derivation	Meaningful, Summary traces	Nonmeaningful, Summary traces	Difference, Summary traces	
	P300	P300	P300	
	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	
FP2-A2	284		-0,45	298		0,29	284		-0,18	
T4-C4	326		-0,65	334		1,49	324		-1,92	
O1-O2	292		-0,43	294		0,06	274		0,24	
T3-C3	262		0,96	316		0,84	260		1,71	
FP1-A1	302		-4,24	300		1,19	306		-5,38