Neurosoft
Report

Patient data:

Name: Kirzeley Cristina Araujo
Birth date: 07/10/1984
Sex: Feminino
Age: 39 anos
Policy number: 
Diagnosis: 
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: PEA
High pass filter: 2,0 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:10
Examination date: Monday, May 13, 2024	

Analysis results:

Potenciais evocados: Áudio-estimulação 1,0 Hz (ambos, 80 dB, Condensação, 5 ms) [00:00:01]
[50 µV, 50 ms]

Derivation	Summary traces	
	N1	P2	N2	P3	
	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	
FP2-A2	86	0.76	148	2.15	150	2.14	225	-0.98	
T4-C4	70	-1.15	96	0.19	150	-0.74	292	0.68	
O1-O2	54	-0.75	102	0.49	156	-0.31	252	0.43	
T3-C3	68	-2.14	90	0.26	166	-0.50	282	1.26	
FP1-A1	94	0.82	142	1.50	150	1.35	225	-2.14