Neurosoft
Report

Patient data:

Name: Beatriz Reichmann Magalhaes
Birth date: 28/09/1945
Sex: Feminino
Age: 78 anos
Policy number: 
Diagnosis: 
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: P300
High pass filter: 0,5 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:42
Examination date: Tuesday, May 14, 2024	

Analysis results:

Potenciais evocados: PE cognitivo (P300) 1,0 Hz (ambos, 80 dB, Condensação, 100 ms, Tom 2000 Hz) [00:00:00]
[50 µV, 50 ms]

Derivation	Meaningful, Summary traces	Nonmeaningful, Summary traces	Difference, Summary traces	
	P300	P300	P300	
	Latência, ms	Latency normal value 420ms (200ms - 460ms)	Amplitude, µV	Latência, ms	Latency normal value 420ms (200ms - 460ms)	Amplitude, µV	Latência, ms	Latency normal value 420ms (200ms - 460ms)	Amplitude, µV	
FP2-A2	258		2.57	300		1.41	258		1.31	
T4-C4	298		2.33	316		0.73	296		1.84	
O1-O2	338		2.23	264		1.28	342		1.85	
T3-C3	306		0.96	260		-0.87	288		1.60	
FP1-A1	270		3.30	298		1.36	268		2.61