Neurosoft
Report

Patient data:

Name: Rayla Gonzaga Carvalho
Birth date: 08/12/1987
Sex: Feminino
Age: 36 anos
Policy number: 
Diagnosis: 
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: PEA
High pass filter: 2,0 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:10
Examination date: Monday, July 22, 2024	

Analysis results:

Potenciais evocados: Áudio-estimulação 1,0 Hz (ambos, 80 dB, Condensação, 5 ms) [00:00:01]
[50 µV, 50 ms]

Derivation	Summary traces	
	N1	P2	N2	P3	
	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	
FP2-A2	86	-0.23	102	-0.03	128	-0.31	234	0.25	
T4-C4	88	-0.42	102	-0.11	154	-0.97	272	0.56	
O1-O2	58	-4.43	78	1.10	194	-1.71	262	-0.24	
T3-C3	90	0.01	104	0.28	154	-1.07	246	1.21	
FP1-A1	68	-1.96	92	-1.27	108	-1.53	274	1.48