Neurosoft
Report

Patient data:

Name: Karina Azevedo de Carvalho Monteiro
Birth date: 18/07/1999
Sex: Feminino
Age: 25 anos
Policy number: 
Diagnosis: 
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: P300
High pass filter: 0,5 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:39
Examination date: Friday, September 13, 2024	

Analysis results:

Potenciais evocados: PE cognitivo (P300) 1,0 Hz (ambos, 80 dB, Condensação, 100 ms, Tom 2000 Hz) [00:00:00]
[50 µV, 50 ms]

Derivation	Meaningful, Summary traces	Nonmeaningful, Summary traces	Difference, Summary traces	
	P300	P300	P300	
	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	
FP2-A2	348		3.63	340		7.86	306		-2.08	
T4-C4	276		-0.13	328		-0.20	274		2.23	
O1-O2	344		3.00	294		0.24	340		4.30	
T3-C3	276		-0.93	288		1.83	300		-8.64	
FP1-A1	314		3.60	346		6.66	308		0.35