Neurosoft
Report

Patient data:

Name: Carlos Alberto da Silva Carvalho
Birth date: 09/02/1978
Sex: Masculino
Age: 46 anos
Policy number: 
Diagnosis: Tegretol, Amitril, Reconter
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: P300
High pass filter: 0,5 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:36
Examination date: Tuesday, November 12, 2024	

Analysis results:

Potenciais evocados: PE cognitivo (P300) 1,0 Hz (ambos, 80 dB, Condensação, 100 ms, Tom 2000 Hz) [00:00:00]
[50 µV, 50 ms]

Derivation	Meaningful, Summary traces	Nonmeaningful, Summary traces	Difference, Summary traces	
	P300	P300	P300	
	Latência, ms	Latency normal value 390ms (200ms - 425ms)	Amplitude, µV	Latência, ms	Latency normal value 390ms (200ms - 425ms)	Amplitude, µV	Latência, ms	Latency normal value 390ms (200ms - 425ms)	Amplitude, µV	
FP2-A2	252		0.47	290		2.12	300		-1.66	
T4-C4	300		-2.29	344		1.54	300		-2.19	
O1-O2	286		1.76	256		1.16	288		1.54	
T3-C3	296		0.37	330		0.96	288		0.96	
FP1-A1	258		-2.78	264		1.72	300		-2.83