Neurosoft
Report

Patient data:

Name: Bruna Guerrieri Oliveira
Birth date: 15/04/1996
Sex: Feminino
Age: 28 anos
Policy number: 
Diagnosis: 
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: P300
High pass filter: 0,5 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:25
Examination date: Monday, December 02, 2024	

Analysis results:

Potenciais evocados: PE cognitivo (P300) 1,0 Hz (ambos, 80 dB, Condensação, 100 ms, Tom 2000 Hz) [00:00:00]
[50 µV, 50 ms]

Derivation	Meaningful, Summary traces	Nonmeaningful, Summary traces	Difference, Summary traces	
	P300	P300	P300	
	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	
FP2-A2	326		-0.57	266		-2.01	328		3.86	
T4-C4	326		-4.31	344		2.26	300		-4.14	
O1-O2	272		2.04	296		1.45	270		2.78	
T3-C3	304		-5.71	336		0.89	300		-4.08	
FP1-A1	326		-1.96	264		0.29	326		2.14