Neurosoft
Report

Patient data:

Name: Lais Ethephanie de Souza Lopes
Birth date: 27/10/1994
Sex: Feminino
Age: 30 anos
Policy number: 
Diagnosis: TDAH
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: P300
High pass filter: 0,5 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:04:36
Examination date: Monday, June 09, 2025	

Analysis results:

Potenciais evocados: PE cognitivo (P300) 1,0 Hz (ambos, 80 dB, Condensação, 100 ms, Tom 2000 Hz) [00:00:00]
[50 µV, 50 ms]

Derivation	Meaningful, Summary traces	Nonmeaningful, Summary traces	Difference, Summary traces	
	P300	P300	P300	
	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	Latência, ms	Latency normal value 350ms (200ms - 390ms)	Amplitude, µV	
FP2-A2	304		2.27	338		0.17	304		2.86	
T4-C4	300		-4.79	300		0.83	300		-5.63	
O1-O2	278		2.28	276		0.44	280		1.91	
T3-C3	300		-5.58	268		1.55	300		-6.62	
FP1-A1	304		5.08	334		1.27	304		5.02