Neurosoft
Report

Patient data:

Name: Diego Rodrigues Ferreira
Birth date: 19/05/1987
Sex: Masculino
Age: 38 anos
Policy number: 
Diagnosis: 
Address: 
Phone: 	Acquisition settings:

Device: Neuron-Spectrum-4/P
Sampling rate: 500 Hz
Montage: PEA
High pass filter: 0,5 Hz
Low pass filter: 35,0 Hz
Notch filter: Liga
Examination duration: 00:05:01
Examination date: Monday, August 18, 2025	

Analysis results:

Potenciais evocados: Áudio-estimulação 1,0 Hz (ambos, 80 dB, Condensação, 5 ms) [00:00:00]
[50 µV, 50 ms]

Derivation	Summary traces	
	N1	P2	N2	P3	
	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	Latência, ms	Amplitude, µV	
FP2-A2	66	-0.49	132	0.29	148	-0.55	288	0.80	
T4-C4	75	0.52	113	-0.19	136	-0.74	210	0.36	
O1-O2	86	-0.44	114	0.39	162	-0.99	292	1.45	
T3-C3	90	-0.41	118	0.54	176	-0.26	204	0.03	
FP1-A1	62	-0.81	90	0.76	112	-1.04	218	0.76